## IQC TITAN
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 291024 (1)
Internal Quality Control (IQC) ID: |  |  | IQC POW 151024
Reagent Blank (RB) ID: |  |  | RB POW 151024
ARSENIC |  |  |  |  | RB (ppb): 0.035 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<6%)
IQC Sample A | 0.501 | 51.304 | 4299.55 | 4248.246 | 85.13% | Within Warning Limit □ | 0.4662%
Within Control Limit □
IQC Sample B | 0.502 | 51.304 | 4279.789 | 4228.485 | 84.91% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): 0.068 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<9%)
IQC Sample A | 0.501 | 21.43 | 290.914 | 269.484 | 90.01% | Within Warning Limit □ | 1.041%
Within Control Limit □
IQC Sample B | 0.502 | 21.43 | 288.122 | 266.692 | 89.25% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): 0.304 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<8%)
IQC Sample A | 0.501 | 16.434 | 466.012 | 449.578 | 90.1% | Within Warning Limit □ | 0.4376%
Within Control Limit □
IQC Sample B | 0.502 | 16.434 | 464.049 | 447.615 | 89.88% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): 2.328 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<5%)
IQC Sample A | 0.501 | 281.562 | 10442.348 | 10160.786 | 101.8% | Within Warning Limit □ | 0.1663%
Within Control Limit □
IQC Sample B | 0.502 | 281.562 | 10425.46 | 10143.898 | 101.8% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh |  |  |  | MAISARAH 29/10/2024
Tandatangan Penyemak & tarikh

## IQC GH
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 270824
Internal Quality Control (IQC) ID: |  |  | IQC POW 210824
Reagent Blank (RB) ID: |  |  | RB GH A 140824
ARSENIC |  |  |  |  | RB (ppb): 0.038 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<6%)
IQC Sample A | 1.509 | 12.92 | 4634.595 | 4621.675 | 92.99% | Within Warning Limit □ | 2.868%
Within Control Limit □
IQC Sample B | 1.508 | 12.92 | 4769.092 | 4756.172 | 95.63% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): 0.018 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<9%)
IQC Sample A | 1.509 | 12.866 | 297.87 | 285.004 | 95.57% | Within Warning Limit □ | 1.591%
Within Control Limit □
IQC Sample B | 1.508 | 12.866 | 293.372 | 280.506 | 94% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): 0.015 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<8%)
IQC Sample A | 1.509 | 2.401 | 469.691 | 467.29 | 94.02% | Within Warning Limit □ | 2.251%
Within Control Limit □
IQC Sample B | 1.508 | 2.401 | 480.328 | 477.927 | 96.1% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): 1.044 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<5%)
IQC Sample A | 1.509 | 60.471 | 9391.446 | 9330.975 | 93.87% | Within Warning Limit □ | 0.3836%
Within Control Limit □
IQC Sample B | 1.508 | 60.471 | 9427.307 | 9366.836 | 94.17% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh |  |  |  | NORDIYAN IQBAL MAISARAH 22/08/24
Tandatangan Penyemak & tarikh