## Chemical UAT
Bil | Nama Bahan Kimia | Jenis | Kuantiti | CAS No | Lokasi | Tarikh botol dibuka | Tarikh luput | Catatan | BAKI STOK 20/8 | *Lokasi di makmal
1 | Absolute Alcohol |  | 5 | 64-17-5 | KS1
2 | Acetic Acid | AR | 9 | 64-19-7 | KS3 | Unopened | 5 years opening
3 | Acetonitrile | HPLC | 8 | 75-05-8 | KS1 |  | (2=22/07/2023) (5=31/1/2026) | 5 botol baru diterima untuk tahun 2023
4 | Ammonia Solution (Ammonium Hydroxide) | AR | 2 | 1336-21-6 | KS2 | Unopened | 5 years opening
5 | Dimethylaniline, N,N | AR | 1 | 121-69-7 | KS1
6 | Dimethylformamide, N,N | HPLC | 2 | 68-12-2 | KS1
7 | Methanol | AR | 4 | 67-56-1 | KS1 |  | 28/2/2026
8 | Anti-bumping granules+D3:D14 | Anti-bumping granules, 500g/btl | 1 | 1344-28-F3:G111 | I02 | - | Expired 2023 | 1 botol sampai pada 29/04/2024,EXP:12/12/2028
9 | Arsenic standard solution traceable to SRM from NIST H3AsO4 in HNO3 0.5ml/l 1000 mg/l As Certipur | Arsenic standard solution traceable to SRM from NIST H3AsO4 in HNO3 0.5ml/l 1000 mg/l As Certipur, 500ml | 2 | 1197730500 | I02 | 2023-03-04 | 1 = 31/5/2025 ; 1= 31/5/2025
10 | 10% Ammonium Phosphate Diabasic (NH4H2PO4), 100mL | Matrix modifier | 2 | Part No: N9303445+C5:C31C5:C32C5:C31C5:C30B6C5:CC5:C30 | I02 | 13/1/2022 | 2=Expired 2023 | 1 botol sampai pada 23/05/2024, EXP: 30/06/2025
11 | Cadmium (Cd) Standard solution, 1000 ug/ml | Cadmium (Cd) Standard solution, 1000 ug/ml, 500mL/btl | 2 | 10325-94-7 | I02 | 27/3/2023 | 2 = 30/4/2026
12 | Diethyl Ether | Diethyl Ether, 2.5L/btl AR Grade | 1 | 60-29-7 | I02 | - | Expired 2023 | 2 botol sampai pada 29/04/2024,EXP:30/09/2026
13 | Hydrogen peroxide 30% (H2O2) solution | Hydrogen peroxide 30% (H2O2) solution, 1L/btl 30% solution, AR GRADE | 3 | 1072101000 | I02 | Unopened | 3=31/5/2024 | 2 botol sampai pada 29/04/2024,EXP:31/05/2028
14 | ICPMS 8800 Internal std mix, 100 ppm of Li, Sc, Ge, Rh, In, Tb, Lu, Bi in 10% Nitric acid | ICPMS Internal std mix, 100 ppm of Li, Sc, Ge, Rh, In, Tb, Lu, Bi in 10% Nitric acid, 100mL/btl Agilent Enviromental Standard | 1 | Batch No:59-083CRY2, CAS No:7697-37-2 | I02 | 29/3/2023 | Expired 31/3/2024
15 | ICPMS 8800 PA tuning solution kit: Tuning 1 (20 ppm each of Zn, Be, Cd, As; 10 ppm each of Ni, Pb, Mg; 5 ppm each of Tl, Na, Al, U, Cu, Th, Ba, Co, Sr, V, Cr, Mn, Li, Sc, In, Lu, Bi; 2.5 ppm each of Y, Yb in 2-5% Nitric Acid). Tuning 2 (10 ppm each of Mo, Sb, Sn, Ge, Ru, Pd; 5 ppm each of Ti, Ir in 10% Hydrochloric acid, 1% Nitric acid and trace Hydrofluoric acid) | ICPMS PA tuning solution kit: Agilent PA tuning solution set. | 2 | Part No:5188-6524, PA Tuning 1 (Batch No:59110CR59101CRY2),PA Tuning 2 (Batch No:59110CR59101CRY2) | I02 | 29/3/2023 | PA Tuning 1-(Opened): 30/6/2024, PA Tuning 2-(Opened): 30/6/2024
16 | ICPMS 8800 Stock Tuning Solution 10 ppm Li, Y, Ce, Tl, and Co in 2% Nitric acid | ICPMS Stock Tuning Solution 10 ppm Li, Y, Ce, Tl, and Co in 2% Nitric acid, 100mL/btl Agilent Tuning Solution. | 1 | Part No:5188-6564, Batch No:8-015MFY2 | I02 | 29/3/2023 | 1 - (Opened): 31/3/2024 | 1 botol sampai pada 23/05/2024 EXP:30/04/2025
17 | Lead (Pb) Standard solution | Lead (Pb) Standard solution, 1000 ug/ml , 500mL/btl | 4 | 10099-74-8 | I02 | 2022-06-12 | 2 = Exp 2025, 2= exp 2026
18 | Mercury (Hg) Standard solution | Mercury (Hg) Standard solution, 1000 ug/ml, 500mL/btl | 4 | 1702260500 | I02 | 2022-06-12 | 2 = Exp 2025, 2= exp 2026
19 | Hydrochloric Acid (HCl) Trace Metal Grade | Hydrochloric Acid (HCl) Trace Metal Grade, 2.5L/btl, 35.0-38.0% w/w | 19 | 7647-01-0 | I02 | Unopened | 7=Exp : 11/3/2025, 12=Exp : 22/4/2025 | 2 botol sampai pada 29/04/2024, EXP:08/2026
20 | Nitric Acid (HNO3) Trace Metal Grade | Nitric Acid (HNO3) Trace Metal Grade, 2.5L/btl, 69.0-70.0% w/w | 14 | 7697-37-2 | I02 | Unopened | 2024-04-01 | 1 botol sampai pada 30/04/2024,EXP:09/2025, 9 botol terima pada 21/06/2024, EXP:16/11/2025, 10 botol diterima pada 16/07/2024 EXP:16/11/2025
21 | Decon for glassware washing | Decon for glassware washing, 5L/btl, LIQUID, ALKALINE, PHOSPHATE-FREE | 4 | 1310-58-3 | I02 | Unopened | - | 5 botol sampai pada 29/04/2024,EXP: -, 5 botol sampai pada 21/06/2024, 5 botol diterima 28/6/2024
23 | Mg(NO3)2 Matrix Modifier for Graphite Furnace AA, 1% , 100 mL | Matrix modifier | 2 | Part No: B0190634 | I02 | 13/1/2023 | 1 = Exp : Feb & 1 = Exp: Apr 2024 | 1 botol sampai pada 23/05/2024, EXP:08/2026
24 | Palladium Nitrate (Pd (NO3)2) in 15% Nitric Acid, 100mL | Matrix modifier | 1 | Part No: B0190635 | I02 | 13/1/2023 | 28/5/2025 | 1 botol sampai pada 23/05/2024, EXP:28/11/2026
25 | S-Carboxymethyl-L-cysteine | Mercury Cleaning system in ICPMS | 1 | 638-23-3 | I02 | Unopened | -
26 | di-Sodium Hydrogen Orthophosphate, Dihydrate | For enteric capsule disintegration testing | 1 | 7558-79-4 | I02 | Unopened | 5 Years of Opening | 1 botol sampai pada 29/04/2024,EXP:31/08/2028
27 | Potassium Dihydrogen Orthophosphate | For enteric capsule disintegration testing | 1 | 7778-77-0 | I02 | Unopened | 5 Years of Opening | 2 botol sampai pada 29/04/2024,EXP:30/11/2026
28 | Tin (II) Chloride | For Mercury testing | 1 | 7772-99-8 | I02 | Unopened | -
29 | ICPMS 8800 Chekout Solutions; Dual Mode 1 Solution & Dual Mode 2 Solution | For ICPMS checking | 2 | Dual Mode 1 Solution-Part No:5185-5850, G1820-60372, Batch No:43-122GSY2 & Dual Mode 2 Solution-Part No:G1820-60410, Batch No:43-123GSY2 | I02 | 29/3/2023 | 2024-09-30
30 | ICPMS 8900 Internal std mix, 100 ppm of Li, Sc, Ge, Rh, In, Tb, Lu, Bi in 10% Nitric acid | ICPMS Internal std mix, 100 ppm of Li, Sc, Ge, Rh, In, Tb, Lu, Bi in 10% Nitric acid, 100mL/btl Agilent Enviromental Standard | 1 | Part No: 5188-6525, Lot No: 60-219CRY2 | I02 | Unopened | 28/2/2025
31 | ICPMS 8900 Stock Tuning Solution 10 ppm Li, Y, Ce, Tl, and Co in 2% Nitric acid, (10mg/L) | ICPMS Stock Tuning Solution 10 ppm Li, Y, Ce, Tl, and Co in 2% Nitric acid, 100mL/btl Agilent Tuning Solution. | 1 | Part No: 5188-6564, Lot No:9-090MFY2, Cas No: 7697-37-2 | I02 | 2023-04-12 | 28/2/2025
32 | ICPMS 8900 Tuning Solution 1mg/L Ce,Co,Li,Mg,TI,Y in 2% Nitric Acid | ICPMS Tuning Solution | 2 | Part No:5185-5959, Lot No:44-115GSX2, Cas No:7697-37-2 & Lot No: 43-185GSX2 | I02 | Unopened | 1=Exp:31/10/2024 1=Exp:31/7/2024
33 | ICPMS 8900 Tuning Solution 10mg/L Ce,Co,Li,Mg,TI,Y in 2% Nitric Acid | ICPMS Tuning Solution | 2 | Part No:5184-3566, Lot No: 43-168GSX2,Cas No:7697-37-2 | I02 | 1=Opened 04/12/2023, 1=Unopened | Exp:31/10/2024
34 | ICPMS 8900 Chekout Solutions; Dual Mode 1 Solution (1mg/ml) & Dual Mode 2 Solution(50mg/ml) | For ICPMS checking | 2 | Dual Mode 1 Solution-Lot No:44-37GSY2, Part No:G1820-60372, & Dual Mode 2 Solution-Part No:G1820-60410, Lot No:43-188GSY2 | I02 | Unopened | 31/12/2024
35 | ICPMS 8900 Wash-Water Blank | For ICPMS checking | 2 | Botol 1=Lot No:44-122GST2, Cas No:7732-18-5, Botol 2=Lot No:43-127GST2, | I02 | Unopened | 1=Exp:31/1/2025 1=Exp:30/9/2024
36 | ICPMS 8900 Wash-Nitric Acid Blank | For ICPMS checking | 2 | Botol 1=Lot No:43-128GST2, Cas No:7697-37-2,Part No:G1820-60258 Botol 2=Lot No:44-104GST2, | I02 | Unopened | 1=Exp:30/9/2024 1=Exp:31/1/2025
37 | ICPMS 8900 Multi Element Calibration Standard 2A 10mg/ml | For ICPMS checking | 1 | Part No:8500-6940. Lot No:60-207CRY2, Cas No:7697-37-2 | I02 | Unopened | 28/2/2025
38 | ICPMS 8900 Multi Element Calibration Standard 2A-HG 10mg/ml | For ICPMS checking | 1 | Part No:8500-6940-HG Lot No:14-104HGY2A, Cas No:7697-37-2 | I02 | Unopened | 28/2/2025
39 | ICPMS 8900 PA tuning solution kit: Tuning 1 (20 ppm each of Zn, Be, Cd, As; 10 ppm each of Ni, Pb, Mg; 5 ppm each of Tl, Na, Al, U, Cu, Th, Ba, Co, Sr, V, Cr, Mn, Li, Sc, In, Lu, Bi; 2.5 ppm each of Y, Yb in 2-5% Nitric Acid). Tuning 2 (10 ppm each of Mo, Sb, Sn, Ge, Ru, Pd; 5 ppm each of Ti, Ir in 10% Hydrochloric acid, 1% Nitric acid and trace Hydrofluoric acid) | ICPMS PA tuning solution kit: Agilent PA tuning solution set. | 2 | Part No:5188-6524, PA Tuning 1 (Batch No:59163CR59115CRY2),PA Tuning 2 (Batch No:59163CR59115CRY2) | I02 | 2023-12-04 | PA Tuning 1-(Opened): 31/1/2025, PA Tuning 2-(Opened): 31/1/2025
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109

## Consumables UAT
Bil | Nama Item | Kuantiti | Lokasi | Catatan | BAKI STOK 20/8 | *Lokasi di makmal
1 | Aluminium Foil, 7.6m length x 45cm width | 1 roll | KS1
2 | Aluminium disc, foil thickness 0.03mm with diameter 80mm | 1 roll | KS1
3 | Anti Slip Covered shoes Size: 11. Injected clog with backstrap, slip resistant, water proof, rubber outsole, lightweight | 3 pairs | KS1
4 | Anti Slip Covered shoes Size: 10. Injected clog with backstrap, slip resistant, water proof, rubber outsole, lightweight | 2 pairs | KS1
5 | Anti Slip Covered shoes Size: 5. Injected clog with backstrap, slip resistant, water proof, rubber outsole, lightweight | 2 pairs | KS1
6 | Borosilicate Glass Bottles, Aspirator, with stopcock, 10L bottle | 1 unit | KS2
7 | 3M Particulate Respirator 8247, R95 | 3 box (?) | I02 | 200 unit diterima pada 24/07/2024
8 | Bekas plastik bertutup 25L | 29 | I02 | 20 botol sampai pada 30/04/2024, 20 botol terima pada 10/07/2024
9 | Gloves Nitrile Powder Free Disposable Size L | 4 box x 10 x 100 | I02 | 300pcs diterima pada 24/07/2024
10 | Gloves Nitrile Powder Free Disposable Size M | 7 box x 10 x 100 | I02
11 | Gloves Nitrile Powder Free Disposable Size S | 2 box x 10 x 100 | I02 | 500pcs diterima pada 24/07/2024
12 | Paper for weighing balance (Printing Paper) | 200 roll | I02
13 | Paper roll for thermal printer (width 56mm, diameter 33mm) | 59 roll | I02
14 | Pour-Boat weighing dishes medium, | - | I02
15 | Pour-Boat weighing dishes small | 13 box x 500 pk | I02
16 | Printer ribbon ERC-09B | 5 | I02 | 2x5 unit sampai pada 16/05/2024
17 | Weighing boats with spout for emptying | 70 unit | I02 | 10 unit diterima pada 24/072024
18 | Parafilm PM996 | 10 box | I02 | 3 box sampai pada 23/05/2024
19 | HDPE Boston Round bottle, 125 mL | 2500 unit | I02 | 2500 unit sampai 01/02/2024, 300 unit diterima pada 22/07/2024,300 unit diterima 29/07/2024
20 | HDPE Boston Round bottle, 60 mL | 252 box x 72botol | I02
21 | ICPMS cylindrical bottom test tube | 10 box x 1000 | I02
22 | Plastic dropper 0.2mL non-graduated, | 100 | I02 | 100pcs sampai 06/03/2024, 100pcs diterima 29/07/2024
23 | Perkin Elmer Polypropylene Disposable Sample Cups, 7 mL - Pkg. 100 | 0 | I02 | 300pcs sampai 23/05/2024
24 | Perkin Elmer Polypropylene Disposable Sample Cups, 2.5 mL - Pkg. 1000 | 2500 | I02 | 1000pcs diterima pada 22/07/2024
25 | Gerhadt Trace Metal Digestor : COD/SMA tube SMG | 7 box x 4 tube | I02
26 | Finnpipette F2 100-1000ul | 5 box 10 x 96 | I02
27 | Glass microfibre disc. Grade : MGC | 150 box | I02
28 | Printer ribbon ERC-09B | 5 pcs | I02 | 5pcs sampai 06/03/2024, 5 pcs diterima 29/7/2024
29 | Evaporating Dish | 4 pcs | I02 | 30pcs diterima pada 24/07/2024
30 | Finnpipette F2 10-1000ul | 1 box x 10 x 96 | I02
31 | Finnpipette F2 0.5-5000ul | 20 box x 5 x 54 | I02
32 | Plastic dropper 1mL non-graduated, | 1500pcs | I02
33 | Plastic dropper 2mL non-graduated, | 2000pcs | I02
34 | Plastic dropper 3mL non-graduated, | 2000pcs | I02
35 | Botol Reagent ICPMS | 25pcs | I02
36 | 3M Silicone Respirator, 7501 | 4pcs | I02 | 5 unit size small diterima 11/06/2024
37 | Scissors | 1pcs | I02 | 3 unit diterima 11/06/2024
38 | Plastic zip bag, H 25cm x W 15cm |  | I02 | 100pcs diterima pada 22/07/2024
39 | Labcoat
40 | Bakul
41 | Container plastik
42 | Tray plastik

## Alat Ganti UAT
Bil | Nama Item | Cat Number | Spesifikasi | Kuantiti | Lokasi | Catatan
Alat Disintegrator
1 | Disintegration Basket Assembly, 3 position type "B" , British Pharmacopeia Compliance, Compatible to Varian Disintegration Tester | Part No : 102-2024, | 3 position type "B", British Pharmacopeia Compliance, Compatible to Varian Disintegration Tester..
2 | Disintegration Basket Assembly, 6 position type "A" , British Pharmacopeial Compliance, Compatible to Varian Disintegration Tester |  | 6 position type "A", British Pharmacopeial Compliance, Compatible to Varian Disintegration Tester.
3 | USP fluted plastic disks | FDISC-VK | 6unit/set, USP Fluted Plastic Disks for 6 Tube Disintegration Assembly (Set/6) - QLA
4 | Fluted Plastic Disks for 3 Tube Disintegration Assembly | Part No: 37-4010 | Fluted Plastic Disks for 3 Tube Disintegration Assembly, USP/EP Compliant (Set/3). Fits Bath Models: Agilent: VK100 Disintegration |  |  | Terima 6 unit pada 10/7/2024
5 | 6 USP Fluted Discs | Part no: 37-4000 | 6 USP Fluted Disks . for 100 Automated Disintegration baskets. For Apparatus A.
6 | Beaker Disintegration, USP | Part no: 37-5305 | For VK 100 Automated Disintegration
7 | Replacement Tubes (38mm), 3 Tube Basket, set of 3 | Part no: 37-5005 | Replacement Tubes (38mm), 3 Tube Basket, set of 3
8 | Replacement Tubes (25mm), 6 Tube Basket, set of 6 | Part no: 37-5000 | Replacement Tubes (25mm), 6 Tube Basket, set of 6
9 | Basket, 3-tube, 38mm OD, 10-Mesh, 1905 µm. | Part no: 37-3030 | Basket, 3-tube, 38mm OD, 10-Mesh, 1905 µm. for 100 Automated Disintegration Apparatus
10 | Basket, 6-tube, 10-Mesh, 1905 µm (USP) | Part no: 37-3001 | Basket, 6-tube, 10-Mesh, 1905 µm (USP). for 100 Automated Disintegration Apparatus
11 | Disintegration Basket Covers | Part no: 37-2105 | Disintegration Basket Cover, 3-tube, 10-Mesh, 1905 µm
12 | Gauge, Disint, 2.5cm (from vessel bottom) | Part no: 37-9000 | for VK 100 Automated Disintegration
Alat Microwave Titan MPS
13 | DPC Glass prism for Standard 100 mL (100 Bar) Digestion Vessels | N3132004 | DPC Glass prism for Standard 100 mL (100 Bar) Digestion Vessels for TITAN MPS Digestor, Brand Perkin Elmer
14 | TFM Sample Vessel Insert for High Pressure 100 mL (100 Bar) Digestion Vessel | N3133009 | TFM Sample Vessel Insert for High Pressure 100 mL (100 Bar) Digestion Vessel for TITAN MPS Digestor, Brand Perkin Elmer
15 | TITAN DPC POLARISATION FOIL OVEN | Part no: N3134047 | Polarization foil for Digestion Vessel caps with Direct Pressure Control (DPC). The foils fit High Pressure 100 mL (100 Bar) Titan Digestion Vessels. In package of 24. |  |  | 1 box of 24pcs sampai pada 27/06/2024
16 | PTFE Ring sealing |  | for TITAN MPS Digestor, Brand Perkin Elmer
17 | Pressure Seal Titan TFM Lid | Part No: N3133023 | for TITAN MPS Digestor, Brand Perkin Elmer
18 | Titan Rupture Disc | Part No: N3133022 | for TITAN MPS Digestor, Brand Perkin Elmer. For high pressure 100ml (100bar)
Agilent ICPMS 8800/8900
19 | Nickel-plated sampling cone (Ni tip with Ni-plated Cu base) | Part No: G3280-67061 | Suitable for ICPMS Agilent 8800
20 | Nickel skimmer cone (standard for ICPMS Agilent 8800 | Part No.: G3280-67041 | Brand: Agilent Technology
21 | Rinse Station for ASX-500 Series | Part no: G3286-80224 | Rinse station, Agilent ASX-500 series autosampler
22 | Contour Flared End PVC Pump Tube 2 tag. Peri pump tube Tygon. | Part no: G3280-67047 | 0.25mm ID Orange/Blue (PKT6)
23 | PVC Pump Tube 3 tag 1.02mm ID White/White | Part no: G1833-65569 | Tygon S3. ID: 1.02mm; Wall: 0.85mm. ID White/white (PKT12)
24 | PharMed Pump Tube 3tag 1.52mm ID Yellow/Blue (PKT 12) | Part no: G1833-65570 | Peri pump tube Ismaprene. Glass Expansion 1.52PH3. PharMed Pump Tube 3tag, 72mm spacing, 1.52mm ID, Yellow/Blue (PKT 12)
25 | Coneguard Agilent 7700X Skimmer | 70-803-1008 | Compatible with Nickel Skimmer Cone for Agilent® 7700x
26 | Drain tubing / connector kit, ASX-500 | Part no: G3286-80188 | Drain tubing / connector kit, ASX-500
27 | Micromist Nebulizer (Glass) | Part no: G3266-65003 | Nebulizer, MicroMist, with EzyFit sample connector, standard with Agilent 7700x/e, 8800 and 7500cx/ce ICP-MS. Borosilicate glass concentric nebulizer used as standard on Agilent x-lens ICP-MS instruments.
28 | Graphite Gasket for sampling cone | AT7703 | Suitable for: Agilent 7700/7900/8800
29 | Rinse and drain Tubing Hookup Kit for ASX-560 and ASX-280 autosampler | 220-95336-11 | Suitable for ASX-560 and ASX-280 autosampler
Alat GFAAS Perkin Elmer
30 | UltraClean THGA Graphite Tubes with Integrated Platform Perkin Elmer | Part No: BO 504033 (BO 508884) | High-density base graphite material. For use of PinAAcle 900Z AA Spectrometer.

## Micropipette
UNIT ANALISIS TRADISIONAL
No. | Name of Micropipette | Serial no.
1 | Finpipette (0.5-5ml) | NZ47541 (H)
(0.5-5 mL)
2 | Finpipette (0.5-5ml) | NZ47544 (H)
(0.5-5mL)
3 | Finpipette (0.5-5ml) | NZ02006 (H)
(0.5-5mL)
4 | Finpipette (0.1-1ml) | OZ58587 (B)
(100-1000 µL)
5 | Finpipette (0.1-1ml) | OZ58589 (B)
(100-1000 µL)
6 | Finnpipette (10 micoL-100 microL) | FJ04697 (K)
(10-100 µL)
7 | Finnpipette (10 micoL-100 microL) | PZ06943 (K)
(10-100 µL)

## Digital Caliper
UNIT ANALISIS TRADISIONAL
No. | Name of Digital Caliper | Serial no. | Catatan
1 | Digital Caliper DC 1 | B23142771
2 | Digital Caliper DC 2 | B23150166
3 | Digital Caliper DC 3 | 160796852
4 | Digital Caliper DC 4 | 160796863

## Thermometer
UNIT ANALISIS TRADISIONAL
No. | Name of Thermometer | Serial no. | Catatan
1 | Themometer Lollipop (Reference) | 150736002
2 | Themometer Lollipop (Mesin Kecai) | 150187237
3 | Themometer Lollipop (Bilik Sampel) | 150735997
4 | Themometer Lollipop | 240123396 | Terima pada 23/05/2024
5 | Themometer Lollipop | 240123408 | Terima pada 23/05/2024