## IQC TITAN
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 110624A
Internal Quality Control (IQC) ID: |  |  | IQ POW 100624 SRF
Reagent Blank (RB) ID: |  |  | RB POW B SRF 100624
ARSENIC |  |  |  |  | RB (ppb): 0.046 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<6%)
IQC Sample A | 0.505 | 52.109 | 4352.961 | 4300.852 | 86.88% | Within Warning Limit □ | 4.111%
Within Control Limit □
IQC Sample B | 0.504 | 52.109 | 4179.723 | 4127.614 | 83.21% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): 0.011 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<9%)
IQC Sample A | 0.505 | 16.318 | 282.167 | 265.849 | 89.5% | Within Warning Limit □ | 0.1875%
Within Control Limit □
IQC Sample B | 0.504 | 16.318 | 281.669 | 265.351 | 89.16% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): 0.213 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<8%)
IQC Sample A | 0.505 | 12.414 | 463.612 | 451.198 | 91.14% | Within Warning Limit □ | 0.4674%
Within Control Limit □
IQC Sample B | 0.504 | 12.414 | 461.508 | 449.094 | 90.54% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): 1.656 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<5%)
IQC Sample A | 0.505 | 198.435 | 9957.775 | 9759.34 | 98.57% | Within Warning Limit □ | 2.79%
Within Control Limit □
IQC Sample B | 0.504 | 198.435 | 10233.89 | 10035.455 | 101.2% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh |  |  |  | SYARIEF 10/06/2024
Tandatangan Penyemak & tarikh

## IQC GH
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis:
Internal Quality Control (IQC) ID:
Reagent Blank (RB) ID:
ARSENIC |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<6%)
IQC Sample A |  |  |  | 0 | #DIV/0! | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B |  |  |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<9%)
IQC Sample A |  |  |  | 0 | #DIV/0! | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B |  |  |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<8%)
IQC Sample A |  |  |  | 0 | #DIV/0! | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B |  |  |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<5%)
IQC Sample A |  |  |  | 0 | #DIV/0! | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B |  |  |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh
Tandatangan Penyemak & tarikh