## Chemical UAT
Bil | Nama Bahan Kimia | Jenis | Kuantiti | CAS No | Lokasi | Tarikh botol dibuka | Tarikh luput | Catatan | *Lokasi di makmal
1 | Anti-bumping granules+D3:D14 | Anti-bumping granules, 500g/btl | 1 | 1344-28-F3:G111 | I02 | - | Expired 12/12/2028 | 1 botol sampai pada 29/04/2024,EXP:12/12/2028
2 | Arsenic standard solution traceable to SRM from NIST H3AsO4 in HNO3 0.5ml/l 1000 mg/l As Certipur | Arsenic standard solution traceable to SRM from NIST H3AsO4 in HNO3 0.5ml/l 1000 mg/l As Certipur, 500ml | 2 | 1197730500 | I02 | Unopened | 1 = 31/5/2025 ; 1= 31/5/2025
3 | 10% Ammonium Phosphate Diabasic (NH4H2PO4), 100mL | Matrix modifier | 1 | Part No: N9303445+C5:C31C5:C32C5:C31C5:C30B6C5:CC5:C30 | I02 | Unopened | Expired 30/06/2025 | 1 botol sampai pada 23/05/2024, EXP: 30/06/2025
4 | Cadmium (Cd) Standard solution, 1000 ug/ml | Cadmium (Cd) Standard solution, 1000 ug/ml, 500mL/btl | 2 | 10325-94-7 | I02 | 27/3/2023 | 2 = 30/4/2026
5 | Diethyl Ether | Diethyl Ether, 2.5L/btl AR Grade | 2 | 60-29-7 | I02 | Opened 1=08/05/2024 | Expired 30/09/2026 | 2 botol sampai pada 29/04/2024,EXP:30/09/2026
6 | Hydrogen peroxide 30% (H2O2) solution | Hydrogen peroxide 30% (H2O2) solution, 1L/btl 30% solution, AR GRADE | 2 | 1072101000 | I02 | opened 1=30/04/2024 | Expired 31/05/2028 | 2 botol sampai pada 29/04/2024,EXP:31/05/2028
7 | ICPMS 8800 Internal std mix, 100 ppm of Li, Sc, Ge, Rh, In, Tb, Lu, Bi in 10% Nitric acid | ICPMS Internal std mix, 100 ppm of Li, Sc, Ge, Rh, In, Tb, Lu, Bi in 10% Nitric acid, 100mL/btl Agilent Enviromental Standard | 1 | Batch No:59-083CRY2, CAS No:7697-37-2 | I02 | 29/3/2023 | Expired 31/3/2024
8 | ICPMS 8800 PA tuning solution kit: Tuning 1 (20 ppm each of Zn, Be, Cd, As; 10 ppm each of Ni, Pb, Mg; 5 ppm each of Tl, Na, Al, U, Cu, Th, Ba, Co, Sr, V, Cr, Mn, Li, Sc, In, Lu, Bi; 2.5 ppm each of Y, Yb in 2-5% Nitric Acid). Tuning 2 (10 ppm each of Mo, Sb, Sn, Ge, Ru, Pd; 5 ppm each of Ti, Ir in 10% Hydrochloric acid, 1% Nitric acid and trace Hydrofluoric acid) | ICPMS PA tuning solution kit: Agilent PA tuning solution set. | 2 | Part No:5188-6524, PA Tuning 1 (Batch No:59110CR59101CRY2),PA Tuning 2 (Batch No:59110CR59101CRY2) | I02 | 29/3/2023 | PA Tuning 1-(Opened):30/6/2024, PA Tuning 2-(Opened):30/6/2024
9 | ICPMS 8800 Stock Tuning Solution 10 ppm Li, Y, Ce, Tl, and Co in 2% Nitric acid | ICPMS Stock Tuning Solution 10 ppm Li, Y, Ce, Tl, and Co in 2% Nitric acid, 100mL/btl Agilent Tuning Solution. | 1 | Part No:5188-6564, Batch No:8-015MFY2 | I02 | 2024-05-05 | EXP:30/04/2025 | 1 botol sampai pada 23/05/2024 EXP:30/04/2025
10 | Lead (Pb) Standard solution | Lead (Pb) Standard solution, 1000 ug/ml , 500mL/btl | 4 | 10099-74-8 | I02 | 2022-06-12 | 2 = Exp 2025, 2= exp 2026
11 | Mercury (Hg) Standard solution | Mercury (Hg) Standard solution, 1000 ug/ml, 500mL/btl | 4 | 1702260500 | I02 | 2022-06-12 | 2 = Exp 2025, 2= exp 2026
12 | Hydrochloric Acid (HCl) Trace Metal Grade | Hydrochloric Acid (HCl) Trace Metal Grade, 2.5L/btl, 35.0-38.0% w/w | 17 | 7647-01-0 | I02 | Unopened | 3=Exp : 11/3/2025, 12=Exp : 22/4/2025,2=Exp:08/2026 | 2 botol sampai pada 29/04/2024, EXP:08/2026
13 | Nitric Acid (HNO3) Trace Metal Grade | Nitric Acid (HNO3) Trace Metal Grade, 2.5L/btl, 69.0-70.0% w/w | 14 | 7697-37-2 | I02 | Unopened | 2024-04-01 | 1 botol sampai pada 30/04/2024,EXP:09/2025, 9 botol terima pada 21/06/2024, EXP:16/11/2025, 10 botol diterima pada 16/07/2024 EXP:16/11/2025
14 | Decon for glassware washing | Decon for glassware washing, 5L/btl, LIQUID, ALKALINE, PHOSPHATE-FREE | 12 | 1310-58-3 | I02 | Unopened | - | 5 botol sampai pada 29/04/2024, 5 botol sampai pada 21/06/2024, 5 botol diterima 28/6/2024
15 | Mg(NO3)2 Matrix Modifier for Graphite Furnace AA, 1% , 100 mL | Matrix modifier | 2 | Part No: B0190634 | I02 | 13/1/2023 | 1 = Exp : Feb & 1 = Exp: Apr 2024 | 1 botol sampai pada 23/05/2024, EXP:08/2026
16 | Palladium Nitrate (Pd (NO3)2) in 15% Nitric Acid, 100mL | Matrix modifier | 1 | Part No: B0190635 | I02 | 13/1/2023 | 28/5/2025 | 1 botol sampai pada 23/05/2024, EXP:28/11/2026
17 | S-Carboxymethyl-L-cysteine | Mercury Cleaning system in ICPMS | 1 | 638-23-3 | I02 | Unopened | -
18 | di-Sodium Hydrogen Orthophosphate, Dihydrate | For enteric capsule disintegration testing | 1 | 7558-79-4 | I02 | Unopened | 5 Years of Opening | 1 botol sampai pada 29/04/2024,EXP:31/08/2028
19 | Potassium Dihydrogen Orthophosphate | For enteric capsule disintegration testing | 1 | 7778-77-0 | I02 | Unopened | 5 Years of Opening | 2 botol sampai pada 29/04/2024,EXP:30/11/2026
20 | Tin (II) Chloride | For Mercury testing | 1 | 7772-99-8 | I02 | Unopened | -
21 | ICPMS 8800 Chekout Solutions; Dual Mode 1 Solution & Dual Mode 2 Solution | For ICPMS checking | 2 | Dual Mode 1 Solution-Part No:5185-5850, G1820-60372, Batch No:43-122GSY2 & Dual Mode 2 Solution-Part No:G1820-60410, Batch No:43-123GSY2 | I02 | 29/3/2023 | 2024-09-30
22 | ICPMS 8900 Internal std mix, 100 ppm of Li, Sc, Ge, Rh, In, Tb, Lu, Bi in 10% Nitric acid | ICPMS Internal std mix, 100 ppm of Li, Sc, Ge, Rh, In, Tb, Lu, Bi in 10% Nitric acid, 100mL/btl Agilent Enviromental Standard | 1 | Part No: 5188-6525, Lot No: 60-219CRY2 | I02 | Unopened | 28/2/2025
23 | ICPMS 8900 Stock Tuning Solution 10 ppm Li, Y, Ce, Tl, and Co in 2% Nitric acid, (10mg/L) | ICPMS Stock Tuning Solution 10 ppm Li, Y, Ce, Tl, and Co in 2% Nitric acid, 100mL/btl Agilent Tuning Solution. | 1 | Part No: 5188-6564, Lot No:9-090MFY2, Cas No: 7697-37-2 | I02 | 2023-04-12 | 28/2/2025
24 | ICPMS 8900 Tuning Solution 1mg/L Ce,Co,Li,Mg,TI,Y in 2% Nitric Acid | ICPMS Tuning Solution | 2 | Part No:5185-5959, Lot No:44-115GSX2, Cas No:7697-37-2 & Lot No: 43-185GSX2 | I02 | Unopened | 1=Exp:31/10/2024 1=Exp:31/7/2024
25 | ICPMS 8900 Tuning Solution 10mg/L Ce,Co,Li,Mg,TI,Y in 2% Nitric Acid | ICPMS Tuning Solution | 2 | Part No:5184-3566, Lot No:43-168GSX2,Cas No:7697-37-2 | I02 | 1=Opened 04/12/2023, 1=Unopened | Exp:31/10/2024
26 | ICPMS 8900 Chekout Solutions; Dual Mode 1 Solution (1mg/ml) & Dual Mode 2 Solution(50mg/ml) | For ICPMS checking | 2 | Dual Mode 1 Solution-Lot No:44-37GSY2, Part No:G1820-60372, & Dual Mode 2 Solution-Part No:G1820-60410, Lot No:43-188GSY2 | I02 | Unopened | 31/12/2024
27 | ICPMS 8900 Wash-Water Blank | For ICPMS checking | 2 | Botol 1=Lot No:44-122GST2, Cas No:7732-18-5, Botol 2=Lot No:43-127GST2, | I02 | Unopened | 1=Exp:31/1/2025 1=Exp:30/9/2024
28 | ICPMS 8900 Wash-Nitric Acid Blank | For ICPMS checking | 2 | Botol 1=Lot No:43-128GST2, Cas No:7697-37-2,Part No:G1820-60258 Botol 2=Lot No:44-104GST2, | I02 | Unopened | 1=Exp:30/9/2024 1=Exp:31/1/2025
29 | ICPMS 8900 Multi Element Calibration Standard 2A 10mg/ml | For ICPMS checking | 1 | Part No:8500-6940. Lot No:60-207CRY2, Cas No:7697-37-2 | I02 | Unopened | 28/2/2025
30 | ICPMS 8900 Multi Element Calibration Standard 2A-HG 10mg/ml | For ICPMS checking | 1 | Part No:8500-6940-HG Lot No:14-104HGY2A, Cas No:7697-37-2 | I02 | Unopened | 28/2/2025
31 | ICPMS 8900 PA tuning solution kit: Tuning 1 (20 ppm each of Zn, Be, Cd, As; 10 ppm each of Ni, Pb, Mg; 5 ppm each of Tl, Na, Al, U, Cu, Th, Ba, Co, Sr, V, Cr, Mn, Li, Sc, In, Lu, Bi; 2.5 ppm each of Y, Yb in 2-5% Nitric Acid). Tuning 2 (10 ppm each of Mo, Sb, Sn, Ge, Ru, Pd; 5 ppm each of Ti, Ir in 10% Hydrochloric acid, 1% Nitric acid and trace Hydrofluoric acid) | ICPMS PA tuning solution kit: Agilent PA tuning solution set. | 2 | Part No:5188-6524, PA Tuning 1 (Batch No:59163CR59115CRY2),PA Tuning 2 (Batch No:59163CR59115CRY2) | I02 | 2023-12-04 | PA Tuning 1-(Opened):31/1/2025, PA Tuning 2-(Opened):31/1/2025
32
33

## Consumables UAT
Bil | Nama Item | Kuantiti | Lokasi | Catatan | *Lokasi di makmal
1 | 3M Particulate Respirator 8247, R95 | 300pc | I02 | 200 unit diterima pada 24/07/2024
2 | Bekas plastik bertutup 25L | 42's | I02 | 20 botol sampai pada 30/04/2024, 20 botol terima pada 10/07/2024
3 | Gloves Nitrile Powder Free Disposable Size L | 80 x 100 | I02 | 300pcs diterima pada 24/07/2024
4 | Gloves Nitrile Powder Free Disposable Size M | 122 x 100 | I02
5 | Gloves Nitrile Powder Free Disposable Size S | 95 x 100 | I02 | 500pcs diterima pada 24/07/2024
6 | Paper for weighing balance (Printing Paper) | 300 roll | I02
7 | Paper roll for thermal printer (width 56mm, diameter 33mm) | 60 roll | I02
8 | Pour-Boat weighing dishes medium, | - | I02
9 | Pour-Boat weighing dishes small | 13 box x 500 pk | I02
10 | Printer ribbon ERC-09B | 5 | I02 | 2x5 unit sampai pada 16/05/2024,5pcs sampai 06/03/2024, 5 pcs diterima 29/7/2024
11 | Weighing boats with spout for emptying | 70 unit | I02 | 10 unit diterima pada 24/072024
12 | Parafilm PM996 | 12 box | I02 | 3 box sampai pada 23/05/2024
13 | HDPE Boston Round bottle, 125 mL | 2682 | I02 | 2500 unit sampai 01/02/2024, 300 unit diterima pada 22/07/2024,300 unit diterima 29/07/2024
14 | HDPE Boston Round bottle, 60 mL | 240 box x 72botol | I02
15 | ICPMS cylindrical bottom test tube | 15000pc | I02
16 | Plastic dropper 0.2mL non-graduated, | 30 | I02 | 100pcs sampai 06/03/2024, 100pcs diterima 29/07/2024
17 | Perkin Elmer Polypropylene Disposable Sample Cups, 7 mL - Pkg. 100 | 300 | I02 | 300pcs sampai 23/05/2024
18 | Perkin Elmer Polypropylene Disposable Sample Cups, 2.5 mL - Pkg. 1000 | 3500 | I02 | 1000pcs diterima pada 22/07/2024
19 | Gerhadt Trace Metal Digestor : COD/SMA tube SMG | 8 box x 4 tube | I02
20 | Finnpipette F2 100-1000ul | 1 x 10 x 96pc | I02
21 | Glass microfibre disc. Grade : MGC | 156 box | I02
22 | Evaporating Dish | 29 pcs | I02 | 30pcs diterima pada 24/07/2024
23 | Finnpipette F2 10-1000ul | 5 box x 10 x 96 | I02
24 | Finnpipette F2 0.5-5000ul | 11 box x 5 x 54 | I02
25 | Plastic dropper 1mL non-graduated, | 1500pcs | I02
26 | Plastic dropper 2mL non-graduated, | 2000pcs | I02
27 | Plastic dropper 3mL non-graduated, | 2000pcs | I02
28 | Botol Reagent ICPMS | 25pcs | I02
29 | 3M Silicone Respirator, 7501 | 14pcs | I02 | 5 unit size small diterima 11/06/2024
30 | scissors | 1pcs | I02 | 3 unit diterima 11/06/2024
31 | Plastic zip bag, H 25cm x W 15cm | 100pc | I02 | 100pcs diterima pada 22/07/2024
32 | Labcoat | 0 | I02
33 | Bakul tarik | 4 | I02
34 | Container plastik | 3 | I02
35 | Tray plastik biru | 3 | I02
36 | acid gas catridge 3m 6003 | 45's | I02 | exp:8/2025
37 | Goggle | 19's | I02
38 | Particulate Respirator R95 3M | 0 | I02
39 | Dispensette Organic(brand) | 4 | I02
40 | Bakul ada pemegang | 5 | I02
41 | Sartorius Optifit Tips 5000μl | 76 x 50pc | I02
42 | Flat centrifuge tube with cap (CORNING Centristar™ 50ml) | 1 x 10pc | I02
43 | plastic zip bag, 3.5" x 2.5" | 4 x 1000pc | I02
44 | plastic zip bag, 5" x 3.5" | 5 x 1000pc | I02

## Alat Ganti UAT
Bil | Nama Item | Cat Number | Spesifikasi | Kuantiti | Lokasi | Catatan
Alat Disintegrator
1 | Disintegration Basket Assembly, 3 position type "B" , British Pharmacopeia Compliance, Compatible to Varian Disintegration Tester | Part No : 102-2024, | 3 position type "B", British Pharmacopeia Compliance, Compatible to Varian Disintegration Tester.. | 1
2 | Disintegration Basket Assembly, 6 position type "A" , British Pharmacopeial Compliance, Compatible to Varian Disintegration Tester |  | 6 position type "A", British Pharmacopeial Compliance, Compatible to Varian Disintegration Tester. | 2
3 | USP fluted plastic disks | FDISC-VK | 6unit/set, USP Fluted Plastic Disks for 6 Tube Disintegration Assembly (Set/6) - QLA
4 | Fluted Plastic Disks for 3 Tube Disintegration Assembly | Part No: 37-4010 | Fluted Plastic Disks for 3 Tube Disintegration Assembly, USP/EP Compliant (Set/3). Fits Bath Models: Agilent: VK100 Disintegration | 24 |  | Terima 6 unit pada 10/7/2024
5 | 6 USP Fluted Discs | Part no: 37-4000 | 6 USP Fluted Disks . for 100 Automated Disintegration baskets. For Apparatus A. | 29
6 | Beaker Disintegration, USP | Part no: 37-5305 | For VK 100 Automated Disintegration | 7
7 | Replacement Tubes (38mm), 3 Tube Basket, set of 3 | Part no: 37-5005 | Replacement Tubes (38mm), 3 Tube Basket, set of 3
8 | Replacement Tubes (25mm), 6 Tube Basket, set of 6 | Part no: 37-5000 | Replacement Tubes (25mm), 6 Tube Basket, set of 6
9 | Basket, 3-tube, 38mm OD, 10-Mesh, 1905 µm. | Part no: 37-3030 | Basket, 3-tube, 38mm OD, 10-Mesh, 1905 µm. for 100 Automated Disintegration Apparatus
10 | Basket, 6-tube, 10-Mesh, 1905 µm (USP) | Part no: 37-3001 | Basket, 6-tube, 10-Mesh, 1905 µm (USP). for 100 Automated Disintegration Apparatus
11 | Disintegration Basket Covers | Part no: 37-2105 | Disintegration Basket Cover, 3-tube, 10-Mesh, 1905 µm | 3
12 | Gauge, Disint, 2.5cm (from vessel bottom) | Part no: 37-9000 | for VK 100 Automated Disintegration | 1
13 | 9/64 allenkey "T"handle (for #8scr) | 1003 - 0134 |  | 3
14 | Basket hanger, VK100 | 71 - 1045 |  | 3
15 | Thermal printer paper |  |  | 10
16 | Rod basket kecai A |  |  | 5
17 | Rod basket kecai B |  |  | 3
18 | Bikar kaca 100ml (Duran) |  |  | 4
19 | Knife for knife mill | 01.877.0001 |  | 1
20 | Peripump tube ismapene 3 stop yel/blu (6pcs) | G1833 - 65570 |  | 10
21 | Peripump tube 3-stop wht/wht 12/p | G1833 - 65569 |  | 8
22 | Peripump tube tugon 2-stop blu/org 12/pk | G3280 - 67047 |  | 13 x 12pk
Alat Microwave Titan MPS
1 | DPC Glass prism for Standard 100 mL (100 Bar) Digestion Vessels | N3132004 | DPC Glass prism for Standard 100 mL (100 Bar) Digestion Vessels for TITAN MPS Digestor, Brand Perkin Elmer | 1
2 | TFM Sample Vessel Insert for High Pressure 100 mL (100 Bar) Digestion Vessel | N3133009 | TFM Sample Vessel Insert for High Pressure 100 mL (100 Bar) Digestion Vessel for TITAN MPS Digestor, Brand Perkin Elmer | 8
3 | TITAN DPC POLARISATION FOIL OVEN | Part no: N3134047 | Polarization foil for Digestion Vessel caps with Direct Pressure Control (DPC). The foils fit High Pressure 100 mL (100 Bar) Titan Digestion Vessels. In package of 24. | 1 x 24 |  | 1 box of 24pcs sampai pada 27/06/2024
4 | PTFE Ring sealing |  | for TITAN MPS Digestor, Brand Perkin Elmer
5 | Pressure Seal Titan TFM Lid | Part No: N3133023 | for TITAN MPS Digestor, Brand Perkin Elmer | 1
6 | Titan Rupture Disc | Part No: N3133022 | for TITAN MPS Digestor, Brand Perkin Elmer. For high pressure 100ml (100bar) | 18 x 10
7 | Titan seal Ring gas main | 5009616 |  | 21
8 | Titan DPC viton cap o-ring 100ml | 5009612 |  | 7
9 | Titan peek ring nut 100ml | 5009613 |  | 50 x 3
10 | Titan DPC clamp screw 100ml | 5009611
11 | Titan DPC cap insert 100ml | 5009640 |  | 2
12 | Titan 1 seal lip tool 100ml | 5009530 |  | 9
13 | Titan end cap gas main | 5009617 |  | 29
14 | Titan turntable base ring | 5009148 |  | 4
15 | titan rupture disc | N3133022 |  | 13
Agilent ICPMS 8800/8900
1 | Nickel-plated sampling cone (Ni tip with Ni-plated Cu base) | Part No: G3280-67061 | Suitable for ICPMS Agilent 8800
2 | Nickel skimmer cone (standard for ICPMS Agilent 8800 | Part No.: G3280-67041 | Brand: Agilent Technology
3 | Rinse Station for ASX-500 Series | Part no: G3286-80224 | Rinse station, Agilent ASX-500 series autosampler | 1
4 | Contour Flared End PVC Pump Tube 2 tag. Peri pump tube Tygon. | Part no: G3280-67047 | 0.25mm ID Orange/Blue (PKT6) | 6
5 | PVC Pump Tube 3 tag 1.02mm ID White/White | Part no: G1833-65569 | Tygon S3. ID: 1.02mm; Wall: 0.85mm. ID White/white (PKT12) | 3 x 12
6 | PharMed Pump Tube 3tag 1.52mm ID Yellow/Blue (PKT 12) | Part no: G1833-65570 | Peri pump tube Ismaprene. Glass Expansion 1.52PH3. PharMed Pump Tube 3tag, 72mm spacing, 1.52mm ID, Yellow/Blue (PKT 12) | 1 x 12
7 | Coneguard Agilent 7700X Skimmer | 70-803-1008 | Compatible with Nickel Skimmer Cone for Agilent® 7700x | 1
8 | Drain tubing / connector kit, ASX-500 | Part no: G3286-80188 | Drain tubing / connector kit, ASX-500 | 8
9 | Micromist Nebulizer (Glass) | Part no: G3266-65003 | Nebulizer, MicroMist, with EzyFit sample connector, standard with Agilent 7700x/e, 8800 and 7500cx/ce ICP-MS. Borosilicate glass concentric nebulizer used as standard on Agilent x-lens ICP-MS instruments. | 2
10 | Graphite Gasket for sampling cone | AT7703 | Suitable for: Agilent 7700/7900/8800 | 4
11 | Rinse and drain Tubing Hookup Kit for ASX-560 and ASX-280 autosampler | 220-95336-11 | Suitable for ASX-560 and ASX-280 autosampler | 3
12 | Agilent nicket skimmer cone | G3280 - 67041 |  | 1
13 | Connector tube with gas port, inert wt | G4912 - 80016 |  | 0
14 | PFA concentric nebulizer (200 ul/min) | G3285 - 80000 |  | 0
15 | Ezylok micromist nebuliser | G3266 - 80003 |  | 0
16 | Octopole assembly, ICPM-MS, 1/pk | G3280 - 67045 |  | 1
17 | Ni sampling cone for x-lens, ICP-MS, 1/pk | G3280 - 67040 |  | 1
18 | Swab - cotton tipped both ends 75mm (100pk) | 9300 - 2574 |  | 4 x 100
19 | 77/78/8800 skimmer cone, Ni, x-lens, 1/pk | G3280 - 67041 |  | 3
20 | Long life shield place for agilent 7500 / 7700 | AT5004 |  | 0
21 | Nickel sampler cone | AT7701 - Ni |  | 0
22 | Nickel skimmer cone (standard for ICPMS Agilent 8800 | 7700 |  | 0
23 | Sample probe kit (with ISIS) , 0.5mm ID | G8410 - 80101 |  | 0
24 | Sample probe kit, 1mm ID (Bypass ISIS) | G8410 - 80103 |  | 0
25 | Micro mist nebuliser w/peek gass fitting | G3266 - 80005 |  | 0
26 | Graphine sheet | G3280 - 01501 |  | 1
27 | End plate for octopole assy. | G3666 - 00397 |  | 2
28 | Grounding connctor assembly | G3280 68002 |  | 0
29 | Nebuliser capillary tubing , per M | 2410020500 |  | 1m
30 | ICPMS Peripump tube drain yel/blu 12/pk | 5005 - 0022 |  | 11
31 | Peripump tube 3 bridged grey/grey | 3710049000 |  | 3
32 | PFA tube 1/16 inch OD, 0.5mm ID (sample tube) | 5042 - 0952 |  | 3m
33 | PFA tube 1/16 inch OD, 0.3mm ID (ISTD tube) | 5042 - 0953 |  | 3M
34 | Online ISTD addition kit | G3280 - 60590 |  | 0
35 | ICPMS peripump tube ISTD blu/org 12/pk | 5005 - 0021 |  | 9
36 | Bypass ISIS tubings |  |  | 1
37 | ICPMS Peripump tube sample wht/wht 12/pk | 5005 - 0020 |  | 20
38 | Set screw | 5042- 4749 |  | 0
39 | Set screw | 5042 - 4728 |  | 0
40 | Fit | 5042 - 4729 |  | 0
41 | Tool kit | G3280 - 60990 |  | 0
42 | ICPMS-MS Sample conbe, Nickel-plated, 1/pl | G3280 - 67061 |  | 0
43 | Graphine gasket for sampling cone (3/pk) | G3280 - 67009 |  | 1
44 | 1 - position connecting unit 1/8 in | CP7988 |  | 3
45 | Gas clean filter oxygen | CP17970 |  | 1
46 | Humidifier connection kit for ICP-MS | G8400 - 60701 |  | 1
47 | Flared peripump Tube 10 0.25 | 5043 - 0015 |  | 1
48 | Cutten tube | 8710 - 1709 |  | 1
49 | Third gas |  |  | 3
50 | Opt gas |  |  | 1
51 | 3rd cell gas |  |  | 1
52 | H2 |  |  | 1
53 | Argon humidifier, two gas line | G8400 - 60700 |  | 1
54 | Wall mounting bracket, gas clean | CP7981 |  | 3
55 | Swab cotton tipped both end (100 pk) | 9300 - 2574 |  | 1
56 | Peripump tube tygon 2-stop blu/org 12/pk | G3280 - 67047 |  | 7
57 | Velvro for gasken kit | 3066 - 1110 |  | 1
58 | Mira mist nebuliser | G3161 - 80001 |  | 1
59 | Peripump tube tygon 3-stop wht/wht | G1833 - 65569 |  | 6
60 | Drain tubing connector | G3256 - 80118 |  | 2
61 | Vinyl tube | 0890 - 2417 |  | 1
62 | Partition tube | 6310001200 |  | 10
63 | Nickel sampler cone | G3280 - 67040 |  | 0
64 | Line sample filter | 70 - 803 - 1108 |  | 2
65 | Octopole holder plate | G3280 - 01654 |  | 2
66 | Center ring | G1820 - 65512 |  | 1
67 | PFA tube (int std) | 5042 - 0953 |  | 1
68 | Skimmer base brass | G3280 - 60621
69 | Platinum skimmer cone | 63280 - 67060 |  | 1
70 | Nickel skimmer cone | G3280 - 67041
71 | Ar gas tubing kit | G3280 - 60163 |  | 1
72 | Gas clean filter | CP17973 |  | 1
73 | Gold plated feed thru std with o-ring | G3666 - 67214 |  | 3
74 | Torch box RF Shielding Plates | G3280-67079 |  | 1
75 | QORF Signal cable | G3280-60029 |  | 1
76 | Skimmer cone, Ni, xlens | G3280-G7041 |  | 3
77 | ICPMS Sampler Cone Nickel-Plated | G3280-670G1 |  | 4
78 | Inductor - core Ferrite 37 - l x 12.7 - px 10 - 11mm | 9170-2546 |  | 0
79 | Torch Quartz 2.5mm id for ICPMS | G3280-80053 |  | Used 1
80 | QPRF PCA (Pb-Free) | G840067037 |  | 1
81 | Swab-cotton tipped both end | 9300-2524 |  | 1
82 | Graphite Gasket for sampling cone | G3280-67009 |  | 1pk(2)
83 | Retaining Ring, sampling cone ICPMS | G3280-20504 |  | 1
84 | Coneguard Thread protector, skimmer for 8800/8900 | 70-803-1008 |  | 1
85 | Pre-configured tubing kit for ISIS 3 | G8411-68202 |  | 0
| Sampling Loops 1.00mm 0.25l | 5005-0030 |  | 0
| Sampling Loops 1.00mm 0.50l | 5005-0031 |  | 0
| Sampling Loops 1.00mm 0.75l | 5005-0032 |  | 0
| Sampling Loops 1.00mm 1.00l | 5005-0033 |  | 0
| Sampling Loops 1.00mm 1.25l | 5005-0034 |  | 0
| Sampling Loops 1.00mm 1.50l | 5005-0035 |  | 0
| Sampling loops 1.00mm 2.00l | 5005-0036 |  | 0
| Sampling Loops 1.00mm 2.50l | 5005-0037 |  | 0
| Samping Loops 2.18mm 1.00l | 5005-0038 |  | 0
| Sampling Loops 2.18mm 1.25l | 5005-0039 |  | 0
| *Sampling Loops 2.18mm 1.50l | 5005-0040 |  | 0
| Sampling Loops 2.18mm 2.00l | 5005-0041 |  | 0
| Sampling Loops 2.18mm 2.50l | 5005-0042 |  | 0
| Samping Loops 2.18mm 3.00l | 5005-0043 |  | 0
| Sampling Loops 2.18mm 4.00l | 5005-0044 |  | 0
| Sample Tubing 0.3mm ID, 1/16" OD, 3m ¦ Use 22cm | G1820-65478 |  | 0
| Sample Tubing 0.3mm ID, 1/16" OD, 3m ¦ Use 7cm | G1820-65478 |  | 0
| Sample Tubing 0.3mm ID, 1/16" OD, 3m ¦ Use 60cm | G1820-65478 |  | 0
| Sample Tubing 0.3mm ID, 1/16" OD, 3m ¦ Use 60cm | G1820-65478 |  | 0
| Sample Tubing 0.5mm ID, 1/16" OD, 5m ¦ Use 25cm | G1820-65105 |  | 0
| Sample Tubing 0.5mm ID, 1/16" OD, 5m ¦ Use 8cm | G1820-65105 |  | 0
| Sample Tubing 0.5mm ID, 1/16" OD, 5m ¦ Use 3m | G1820-65105 |  | 0
| Sample Tubing 1.0mm ID, 1/16" OD, 5m | G8411-67117 |  | 0
| Sample Tubing 2.18mm ID, 1/8" OD, 5m | G8411-67118 |  | 0
| Sample probe, carbon fibre 1.0mm ID ASX | G3266-80119 |  | 0
| UniFig sample tube for MicroMist neb. 0.25mm ID, 10ea/package | G3266-80013 |  | 0
| Tygon tubing 1/8" ID, 1/4" OD, 3m | G3280-60077 |  | 0
| Peri-pump tubing, 0.25mm ID for ISTD, flared end, 12ea/package | 5005-0021 |  | 0
| Peri-pump tubing, 1.02mm ID for carrier, 12ea/package | 5005-0020 |  | 0
| Connector T-joint with earth block | G3280-62062 |  | 0
| Connector Plug, 3ea/package | G3138-65129 |  | 0
| Connector PCTFE nut for 1/16" OD tubing, 10ea/package | 5064-8023 |  | 0
| Connector 1/16" tube end PP nut and CTFE ferrule set, orange, 5ea/package | 5023-1519 |  | 0
| Connector 1/16" tube end PP nut and CTFE ferrule set, purple, 5ea/package | 5023-1520 |  | 0
| Connector 1/16" tube end PP nut and CTFE ferrule set, yellow, 5ea/package | 5023-1521 |  | 0
| Connector 1/16" tube end PP nut and CTFE ferrule set, white, 5ea/package | 5023-1522 |  | 0
| Connector 1/16" tube end PP nut and CTFE ferrule set, black, 5ea/package | 5023-1523 |  | 0
| Connector 1/16" tube end PP nut and CTFE ferrule set, blue, 5ea/package | 5023-1524 |  | 0
| Connector 1/16" tube end PP nut and CTFE ferrule set, green, 5ea/package | 5023-1525 |  | 0
| Connector 1/8" tube end PP nut and CTFE ferrule set, red, 5ea/package | 5023-1526 |  | 0
| Connector 1/8" tube end PP nut and CTFE ferrule set, black, 5ea/package | 5023-1527 |  | 0
| Front and back ferrule for 1/16" OD tubing, 10ea/package | 5064-8024 |  | 0
| Barb fitting, 1/4-28UNF-ID3.2 | 5023-1517 |  | 0
| 1/16" tube end CTFE ferrule, 10ea/package | 5043-0054 |  | 0
| 1/8" tube end CTFE ferrule, 10ea/package | 5043-0055 |  | 0
Alat GFAAS Perkin Elmer
1 | UltraClean THGA Graphite Tubes with Integrated Platform Perkin Elmer | Part No: BO 504033 (BO 508884) | High-density base graphite material. For use of PinAAcle 900Z AA Spectrometer. | 26 x 20
Lain - lain
1 | O - ring for argon and oxygen gas regulator |  | Argon gas regulator O-ring. Dimension: 14.5mm length, 2.6mm width, 9.3mm inner diameter. Material: NBR (Nitrile butadiene rubber) | 10

## Micropipette
UNIT ANALISIS TRADISIONAL
No. | Name of Micropipette | Serial no.
1 | Finpipette (0.5-5ml) | NZ47541 (H)
(0.5-5 mL)
2 | Finpipette (0.5-5ml) | NZ47544 (H)
(0.5-5mL)
3 | Finpipette (0.5-5ml) | NZ02006 (H)
(0.5-5mL)
4 | Finpipette (0.1-1ml) | OZ58587 (B)
(100-1000 µL)
5 | Finpipette (0.1-1ml) | OZ58589 (B)
(100-1000 µL)
6 | Finnpipette (10 micoL-100 microL) | FJ04697 (K)
(10-100 µL)
7 | Finnpipette (10 micoL-100 microL) | PZ06943 (K)
(10-100 µL)

## Digital Caliper
UNIT ANALISIS TRADISIONAL
No. | Name of Digital Caliper | Serial no. | Catatan
1 | Digital Caliper DC 1 | B23142771
2 | Digital Caliper DC 2 | B23150166
3 | Digital Caliper DC 3 | 160796852
4 | Digital Caliper DC 4 | 160796863

## Thermometer
UNIT ANALISIS TRADISIONAL
No. | Name of Thermometer | Serial no. | Catatan
1 | Themometer Lollipop (Reference) | 150736002
2 | Themometer Lollipop (Mesin Kecai) | 150187237
3 | Themometer Lollipop (Bilik Sampel) | 150735997
4 | Themometer Lollipop | 240123396 | Terima pada 23/05/2024
5 | Themometer Lollipop | 240123408 | Terima pada 23/05/2024