## IQC TITAN
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 180424
Internal Quality Control (IQC) ID: |  |  | IQC POW 160424
Reagent Blank (RB) ID: |  |  | RB POW 160424
ARSENIC |  |  |  |  | RB (ppb):0.082 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<6%)
IQC Sample A | 0.503 | 152.735 | 4411.617 | 4258.882 | 85.69% | Within Warning Limit □ | 2.55%
Within Control Limit □
IQC Sample B | 0.504 | 152.735 | 4521.627 | 4368.892 | 88.08% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb):0.464 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<8%)
IQC Sample A | 0.503 | 51.188 | 569.224 | 518.036 | 104.2% | Within Warning Limit □ | 1.328%
Within Control Limit □
IQC Sample B | 0.504 | 51.188 | 562.389 | 511.201 | 103.1% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb):0.959 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<5%)
IQC Sample A | 0.503 | 330.945 | 9159.022 | 8828.077 | 88.81% | Within Warning Limit □ | 0.5155%
Within Control Limit □
IQC Sample B | 0.504 | 330.945 | 9113.626 | 8782.681 | 88.53% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb):0.000 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<9%)
IQC Sample A | 0.503 | 39.276 | 311.474 | 272.198 | 91.28% | Within Warning Limit □ | 1.572%
Within Control Limit □
IQC Sample B | 0.504 | 39.276 | 315.787 | 276.511 | 92.91% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh |  |  |  | HANANI ASYIKIN 18/04/2024
Tandatangan Penyemak & tarikh

## IQC GH
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 180424
Internal Quality Control (IQC) ID: |  |  | IQC SCAP 160424
Reagent Blank (RB) ID: |  |  | RB GH A 160424
ARSENIC |  |  |  |  | RB (ppb):0.022 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<6%)
IQC Sample A | 1.523 | 13.6 | 4321.491 | 4307.891 | 87.48% | Within Warning Limit □ | 4.897%
Within Control Limit □
IQC Sample B | 1.521 | 13.6 | 4537.73 | 4524.13 | 91.75% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb):0.243 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<8%)
IQC Sample A | 1.523 | 10.909 | 479.146 | 468.237 | 95.08% | Within Warning Limit □ | 4.684%
Within Control Limit □
IQC Sample B | 1.521 | 10.909 | 501.605 | 490.696 | 99.51% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb):0.681 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<5%)
IQC Sample A | 1.523 | 250.289 | 9149.428 | 8899.139 | 90.36% | Within Warning Limit □ | 2.496%
Within Control Limit □
IQC Sample B | 1.521 | 250.289 | 9374.342 | 9124.053 | 92.52% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb):0.000 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<9%)
IQC Sample A | 1.523 | 14.725 | 279.962 | 265.237 | 89.77% | Within Warning Limit □ | 2.838%
Within Control Limit □
IQC Sample B | 1.521 | 14.725 | 287.599 | 272.874 | 92.23% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh |  |  |  | HANANI ASYIKIN 18/04/2024
Tandatangan Penyemak & tarikh