## IQC TITAN
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 210524
Internal Quality Control (IQC) ID: |  |  | IQC POW 210524
Reagent Blank (RB) ID: |  |  | RB POW 210524
ARSENIC |  |  |  |  | RB (ppb): 0.152 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<6%)
IQC Sample A | 0.504 | 202.58 | 4441.52 | 4238.94 | 85.46% | Within Warning Limit □ | 0.951%
Within Control Limit □
IQC Sample B | 0.503 | 202.58 | 4401.399 | 4198.819 | 84.48% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): 0.059 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<9%)
IQC Sample A | 0.504 | 53.224 | 311.774 | 258.55 | 86.87% | Within Warning Limit □ | 3.039%
Within Control Limit □
IQC Sample B | 0.503 | 53.224 | 319.752 | 266.528 | 89.38% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): 0.204 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<8%)
IQC Sample A | 0.504 | 20.403 | 490.869 | 470.466 | 94.85% | Within Warning Limit □ | 2.078%
Within Control Limit □
IQC Sample B | 0.503 | 20.403 | 481.192 | 460.789 | 92.71% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb):1.559 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<5%)
IQC Sample A | 0.504 | 387.045 | 9493.929 | 9106.884 | 91.8% | Within Warning Limit □ | 2.157%
Within Control Limit □
IQC Sample B | 0.503 | 387.045 | 9299.596 | 8912.551 | 89.66% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh |  |  |  | NOR HANANI ASYIKIN 21/05/2024
Tandatangan Penyemak & tarikh

## IQC GH
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis:
Internal Quality Control (IQC) ID:
Reagent Blank (RB) ID:
ARSENIC |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<6%)
IQC Sample A |  |  |  | 0 | #DIV/0! | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B |  |  |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<9%)
IQC Sample A |  |  |  | 0 | #DIV/0! | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B |  |  |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<8%)
IQC Sample A |  |  |  | 0 | #DIV/0! | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B |  |  |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<5%)
IQC Sample A |  |  |  | 0 | #DIV/0! | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B |  |  |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh
Tandatangan Penyemak & tarikh