## As
POWDER
For Microwave: 0.5mL of 5ppm As
Sample ID | Sample weight (g) | Spiked Std (ppb) | Final spiked conc. in 50mL flask (µg/L) | Content of As spiked (µg) | Content of As spiked in sample (µg/g) | Found Blank from ICP (ng/g) | Found Conc. from ICP (ng/g) | Conc. Of As found in QC sample (μg/g) | % recovery (80-115%)
IQC POW 1 211123 | 0.505 | 5000 | 50 | 2.5 | 4.9505 | 145.147 | 4111.104 | 3.966 | 80.11%
IQC POW 2 211124 | 0.503 | 5000 | 50 | 2.5 | 4.9702 | 145.147 | 4111.104 | 3.966 | 79.8%
IQC POW 3 211125 | 0.505 | 5000 | 50 | 2.5 | 4.9505 | 145.147 | 4111.104 | 3.966 | 80.11%
IQC POW 4 211126 | 0.503 | 5000 | 50 | 2.5 | 4.9702 | 145.147 | 4111.104 | 3.966 | 79.8%
IQC POW 5 211127 | 0.503 | 5000 | 50 | 2.5 | 4.9702 | 145.147 | 4111.104 | 3.966 | 79.8%
IQC POW 6 211128 | 0.503 | 5000 | 50 | 2.5 | 4.9702 | 145.147 | 4111.104 | 3.966 | 79.8%
IQC POW 7 211123 | 0.506 | 5000 | 50 | 2.5 | 4.9407 | 145.147 | 4111.104 | 3.966 | 80.27%
IQC POW 8 211123 | 0.501 | 5000 | 50 | 2.5 | 4.99 | 55.166 | 4111.104 | 4.0559 | 81.28%
IQC POW 9 211123 | 0.505 | 5000 | 50 | 2.5 | 4.9505 | 55.166 | 4111.104 | 4.0559 | 81.93%
IQC POW 10 211123 | 0.505 | 5000 | 50 | 2.5 | 4.9505 | 55.166 | 4111.104 | 4.0559 | 81.93%
IQC POW 11 211123 | 0.504 | 5000 | 50 | 2.5 | 4.9603 | 55.166 | 4111.104 | 4.0559 | 81.77%
IQC POW 12 211123 | 0.503 | 5000 | 50 | 2.5 | 4.9702 | 145.147 | 4111.104 | 3.966 | 79.8%
IQC POW 13 211123 | 0.506 | 5000 | 50 | 2.5 | 4.9407 | 145.147 | 4111.104 | 3.966 | 80.27%
IQC POW 14 211123 | 0.503 | 5000 | 50 | 2.5 | 4.9702 | 145.147 | 4111.104 | 3.966 | 79.8%
[8 empty] | Std Dev | 0.0086254
[8 empty] | RSD | 1.069%
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0! | Effective sample digested starting from 1st May 2023
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0! | Mean
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0! | SD
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0! | 2SD
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0! | 3SD
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0! | UCL
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0! | UWL
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0! | LWL
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0! | LCL
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 5000 | 50 | 2.5 | #DIV/0! |  |  | 0 | #DIV/0!

## Cd
POWDER
For Microwave: 0.5mL of 0.3ppm Cd
Sample ID | Sample weight (g) | Spiked Std (ppb) | Final spiked conc. in 50mL flask (µg/L) | Content of Cd spiked (µg) | Content of Cd spiked in sample (µg/g) | Found Blank from ICP (ng/g) | Found Conc. from ICP (ng/g) | Conc. Of Cd found in QC sample (μg/g) | % recovery (80-115%)
IQC POW 1 211123 | 0.505 | 300 | 3 | 0.15 | 0.29703 | 34.751 | 269.005 | 0.23425 | 78.87%
IQC POW 2 211124 | 0.503 | 300 | 3 | 0.15 | 0.29821 | 34.751 | 269.005 | 0.23425 | 78.55%
IQC POW 3 211125 | 0.505 | 300 | 3 | 0.15 | 0.29703 | 34.751 | 269.005 | 0.23425 | 78.87%
IQC POW 4 211126 | 0.503 | 300 | 3 | 0.15 | 0.29821 | 34.751 | 269.005 | 0.23425 | 78.55%
IQC POW 5 211127 | 0.503 | 300 | 3 | 0.15 | 0.29821 | 34.751 | 269.005 | 0.23425 | 78.55%
IQC POW 6 211128 | 0.503 | 300 | 3 | 0.15 | 0.29821 | 34.751 | 269.005 | 0.23425 | 78.55%
IQC POW 7 211123 | 0.506 | 300 | 3 | 0.15 | 0.29644 | 34.751 | 269.005 | 0.23425 | 79.02%
IQC POW 8 211123 | 0.501 | 300 | 3 | 0.15 | 0.2994 | 34.751 | 269.005 | 0.23425 | 78.24%
IQC POW 9 211123 | 0.505 | 300 | 3 | 0.15 | 0.29703 | 34.751 | 269.005 | 0.23425 | 78.87%
IQC POW 10 211123 | 0.505 | 300 | 3 | 0.15 | 0.29703 | 34.751 | 269.005 | 0.23425 | 78.87%
IQC POW 11 211123 | 0.504 | 300 | 3 | 0.15 | 0.29762 | 34.751 | 269.005 | 0.23425 | 78.71%
IQC POW 12 211123 | 0.503 | 300 | 3 | 0.15 | 0.29821 | 34.751 | 269.005 | 0.23425 | 78.55%
IQC POW 13 211123 | 0.506 | 300 | 3 | 0.15 | 0.29644 | 34.751 | 269.005 | 0.23425 | 79.02%
IQC POW 14 211123 | 0.503 | 300 | 3 | 0.15 | 0.29821 | 34.751 | 269.005 | 0.23425 | 78.55%
[8 empty] | Std Dev | 0.0022477
[8 empty] | RSD | 0.2856%
|  | 300 | 3 | 0.15 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | Effective sample digested starting from 1st May 2023
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | Mean
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | SD
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | 2SD
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | 3SD
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | UCL
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | UWL
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | LWL
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | LCL
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | Mean
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | SD
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | 2SD
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | 3SD
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | UCL
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | UWL
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | LWL
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | LCL
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | Mean
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | SD
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | 2SD
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | 3SD
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | UCL
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | UWL
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | LWL
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0! | LCL
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 300 | 3 | 0.15 | #DIV/0! |  |  | 0 | #DIV/0!

## Hg
POWDER
For Microwave: 0.5mL of 0.5ppm Hg
Sample ID | Sample weight (g) | Spiked Std (ppb) | Final spiked conc. in 50mL flask (µg/L) | Content of Hg spiked (µg) | Content of Hg spiked in sample (µg/g) | Found Blank from ICP (ng/g) | Found Conc. from ICP (ng/g) | Conc. Of Hg found in QC sample (μg/g) | % recovery (80-115%)
IQC POW 1 211123 | 0.505 | 500 | 5 | 0.25 | 0.49505 | 13.018 | 437.399 | 0.42438 | 85.72%
IQC POW 2 211124 | 0.503 | 500 | 5 | 0.25 | 0.49702 | 13.018 | 437.399 | 0.42438 | 85.39%
IQC POW 3 211125 | 0.505 | 500 | 5 | 0.25 | 0.49505 | 13.018 | 437.399 | 0.42438 | 85.72%
IQC POW 4 211126 | 0.503 | 500 | 5 | 0.25 | 0.49702 | 13.018 | 437.399 | 0.42438 | 85.39%
IQC POW 5 211127 | 0.503 | 500 | 5 | 0.25 | 0.49702 | 13.018 | 437.399 | 0.42438 | 85.39%
IQC POW 6 211128 | 0.503 | 500 | 5 | 0.25 | 0.49702 | 13.018 | 437.399 | 0.42438 | 85.39%
IQC POW 7 211123 | 0.506 | 500 | 5 | 0.25 | 0.49407 | 13.018 | 437.399 | 0.42438 | 85.89%
IQC POW 8 211123 | 0.501 | 500 | 5 | 0.25 | 0.499 | 13.018 | 437.399 | 0.42438 | 85.05%
IQC POW 9 211123 | 0.505 | 500 | 5 | 0.25 | 0.49505 | 13.018 | 437.399 | 0.42438 | 85.72%
IQC POW 10 211123 | 0.505 | 500 | 5 | 0.25 | 0.49505 | 13.018 | 437.399 | 0.42438 | 85.72%
IQC POW 11 211123 | 0.504 | 500 | 5 | 0.25 | 0.49603 | 13.018 | 437.399 | 0.42438 | 85.56%
IQC POW 12 211123 | 0.503 | 500 | 5 | 0.25 | 0.49702 | 13.018 | 437.399 | 0.42438 | 85.39%
IQC POW 13 211123 | 0.506 | 500 | 5 | 0.25 | 0.49407 | 13.018 | 437.399 | 0.42438 | 85.89%
IQC POW 14 211123 | 0.503 | 500 | 5 | 0.25 | 0.49702 | 13.018 | 437.399 | 0.42438 | 85.39%
[8 empty] | Std Dev | 0.0024432
[8 empty] | RSD | 0.2856%
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! | Effective sample digested starting from 1st May 2023
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! | Mean
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! | SD
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! | 2SD
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! | 3SD
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! | UCL
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! | UWL
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! | LWL
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! | LCL
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! |  | Mean
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! |  | SD
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! |  | 2SD
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! |  | 3SD
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! |  | UCL
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! |  | UWL
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! |  | LWL
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! |  | LCL
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! |  | Mean
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! |  | SD
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! |  | 2SD
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! |  | 3SD
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! |  | UCL
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! |  | UWL
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! |  | LWL
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0! |  | LCL
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 500 | 5 | 0.25 | #DIV/0! |  |  | 0 | #DIV/0!

## Pb
POWDER
For Microwave: 0.5mL of 10ppm Pb
Sample ID | Sample weight (g) | Spiked Std (ppb) | Final spiked conc. in 50mL flask (µg/L) | Content of Pb spiked (µg) | Expected content of Pb spiked in sample (µg/g) | Found Blank from ICP (ng/g) | Found Conc. from ICP (ng/g) | Conc. Of Pb found in QC sample (μg/g) | % recovery (80-115%)
IQC POW 1 211123 | 0.505 | 10000 | 100 | 5 | 9.901 | 261.159 | 9209.945 | 8.9488 | 90.38%
IQC POW 2 211124 | 0.503 | 10000 | 100 | 5 | 9.9404 | 261.159 | 9209.945 | 8.9488 | 90.02%
IQC POW 3 211125 | 0.505 | 10000 | 100 | 5 | 9.901 | 261.159 | 9209.945 | 8.9488 | 90.38%
IQC POW 4 211126 | 0.503 | 10000 | 100 | 5 | 9.9404 | 261.159 | 9209.945 | 8.9488 | 90.02%
IQC POW 5 211127 | 0.503 | 10000 | 100 | 5 | 9.9404 | 261.159 | 9209.945 | 8.9488 | 90.02%
IQC POW 6 211128 | 0.503 | 10000 | 100 | 5 | 9.9404 | 261.159 | 9209.945 | 8.9488 | 90.02%
IQC POW 7 211123 | 0.506 | 10000 | 100 | 5 | 9.8814 | 261.159 | 9209.945 | 8.9488 | 90.56%
IQC POW 8 211123 | 0.501 | 10000 | 100 | 5 | 9.98 | 261.159 | 9209.945 | 8.9488 | 89.67%
IQC POW 9 211123 | 0.505 | 10000 | 100 | 5 | 9.901 | 261.159 | 9209.945 | 8.9488 | 90.38%
IQC POW 10 211123 | 0.505 | 10000 | 100 | 5 | 9.901 | 261.159 | 9209.945 | 8.9488 | 90.38%
IQC POW 11 211123 | 0.504 | 10000 | 100 | 5 | 9.9206 | 261.159 | 9209.945 | 8.9488 | 90.2%
IQC POW 12 211123 | 0.503 | 10000 | 100 | 5 | 9.9404 | 261.159 | 9209.945 | 8.9488 | 90.02%
IQC POW 13 211123 | 0.506 | 10000 | 100 | 5 | 9.8814 | 261.159 | 9209.945 | 8.9488 | 90.56%
IQC POW 14 211123 | 0.503 | 10000 | 100 | 5 | 9.9404 | 261.159 | 9209.945 | 8.9488 | 90.02%
[8 empty] | Std Dev | 0.0025759
[8 empty] | RSD | 0.2856%
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | Effective sample digested starting from 1st May 2023
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | Mean
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | SD
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | 2SD
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | 3SD
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | UCL
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | UWL
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | LWL
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | LCL
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | Mean
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | SD
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | 2SD
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | 3SD
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | UCL
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | UWL
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | LWL
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | LCL
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | Mean
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | SD
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | 2SD
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | 3SD
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | UCL
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | UWL
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | LWL
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0! | LCL
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!
|  | 10000 | 100 | 5 | #DIV/0! |  |  | 0 | #DIV/0!

## Sheet1
1st time | 0.4888
AR | 0.5947
BR | 0.5317 | uow | -10% |  |  | 7.5% ,15% |  |  | 5% , 10%
CR | 0.571 | 0.5738 | 0.51642 |  | 0.2014 | 0.1863 |  | 0.415 | 0.39425
purata | 0.54655 |  | 0.63118 |  | .. | 0.2165 |  |  | 0.43575
SD | 0.046446
%RSD | 8.4981 | 0.5738 | 0.45904 |  | 0.2014 | 0.17119 |  | 0.415 | 0.3735
|  |  | 0.68856 |  |  | 0.23161 |  |  | 0.4565
1st time | 0.4976 | 010323 A | 0.51 | 5000 | 50 | 2.5 | 4.902 | 247.347 | 5300.262 | 5.0529 | 103.1% | 4.511% | AMIR ASYIKIN
AR | 0.6733 | 010323 B | 0.51 | 5000 | 50 | 2.5 | 4.902 | 247.347 | 5077.353 | 4.83 | 98.53%
BR | 0.6791
CR | 0.6883 | 010323 A | 0.51 | 500 | 5 | 0.25 | 0.4902 | 16.109 | 536.477 | 0.52037 | 106.2% | 4.899% | AMIR ASYIKIN
AR 2 | 0.6488 | 010323 B | 0.51 | 500 | 5 | 0.25 | 0.4902 | 16.109 | 511.595 | 0.49549 | 101.1%
BR 2 | 0.6344
CR 2 | 0.6078 | 010323 A | 0.51 | 10000 | 100 | 5 | 9.8039 | 566.375 | 10701.537 | 10.1352 | 103.4% | 2.242% | AMIR ASYIKIN
median | 0.6488 | 010323 B | 0.51 | 10000 | 100 | 5 | 9.8039 | 566.375 | 10931.352 | 10.365 | 105.7%
SD | 0.065862
%RSD | 10.1513 | 010323 A | 0.51 | 300 | 3 | 0.15 | 0.29412 | 77.295 | 381.942 | 0.30465 | 103.6% | 0.3712% | AMIR ASYIKIN
|  | 010323 B | 0.51 | 300 | 3 | 0.15 | 0.29412 | 77.295 | 383.075 | 0.30578 | 104%

## Sheet2
1 | 0.3049
2 | 0.3002
3 | 0.3038
4 | 0.3009
5 | 0.2949
6 | 0.3059
7 | 0.2958
8 | 0.2975
9 | 0.2934
10 | 0.2949
11 | 0.3028
12 | 0.2984
13 | 0.3029
14 | 0.2964
15 | 0.2974
16 | 0.2878
17 | 0.3001
18 | 0.2937
19 | 0.2983
20 | 0.3079 | 5 | 7.5 | 10 | 15
Average | 0.2989 | 0.28395 | 0.27648 | 0.26901 | 0.25406
|  | 0.31384 | 0.32131 | 0.32878 | 0.34373