## IQC TITAN
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis: |  |  | 110724
Internal Quality Control (IQC) ID: |  |  | IQC POW 030724
Reagent Blank (RB) ID: |  |  | RB POW 030724
ARSENIC |  |  |  |  | RB (ppb): 0.064 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<6%)
IQC Sample A | 0.51 | 49.242 | 4934.168 | 4884.926 | 99.65% | Within Warning Limit □ | 1.109%
Within Control Limit □
IQC Sample B | 0.511 | 49.242 | 4880.289 | 4831.047 | 98.75% | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): 0.016 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<9%)
IQC Sample A | 0.51 | 20.249 | 312.933 | 292.684 | 99.51% | Within Warning Limit □ | 0.1014%
Within Control Limit □
IQC Sample B | 0.511 | 20.249 | 313.23 | 292.981 | 99.81% | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): 0.089 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<8%)
IQC Sample A | 0.51 | 16.517 | 489.264 | 472.747 | 96.44% | Within Warning Limit □ | 1.813%
Within Control Limit □
IQC Sample B | 0.511 | 16.517 | 497.911 | 481.394 | 98.4% | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): 1.632 |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<5%)
IQC Sample A | 0.51 | 226.398 | 11100.926 | 10874.528 | 110.9% | Within Warning Limit □ | 2.03%
Within Control Limit □
IQC Sample B | 0.511 | 226.398 | 10882.344 | 10655.946 | 108.9% | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh |  |  |  | NORDIYANA MAISARAH 11/07/2024
Tandatangan Penyemak & tarikh

## IQC GH
Unit Analisis Tradisional
Laporan Internal Quality Control
Fail Analisis:
Internal Quality Control (IQC) ID:
Reagent Blank (RB) ID:
ARSENIC |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of As in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<6%)
IQC Sample A |  |  |  | 0 | #DIV/0! | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B |  |  |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
CADMIUM |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Cd in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<9%)
IQC Sample A |  |  |  | 0 | #DIV/0! | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B |  |  |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
MERCURY |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Hg in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<8%)
IQC Sample A |  |  |  | 0 | #DIV/0! | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B |  |  |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
PLUMBUM |  |  |  |  | RB (ppb): |  | [MDL:50 ppb]
| Sample weight (g) | Blank Conc. (ppb) | Found Conc. (ppb) | Conc of Pb in QC samples | % Recovery (80 - 115%) |  | %RPD (NMT<5%)
IQC Sample A |  |  |  | 0 | #DIV/0! | Within Warning Limit □ | #DIV/0!
Within Control Limit □
IQC Sample B |  |  |  | 0 | #DIV/0! | Within Warning Limit □
Within Control Limit □
Tandatangan Penganalisa & tarikh
Tandatangan Penyemak & tarikh